## Slide 1: Structure Report Templates for Cancer Clinical Trials
David Clunie
PixelMed Publishing

## Slide 2: Characteristics of DICOM SR
Structured coded, text and numeric information with image/3D coordinate references
General recursive structure layered on top of DICOM data elements
Tree/DAG of “content items” (nodes)
Node is (named) container or name-value pair
All names, most values, are coded

## Slide 3: Templates “constraint” content
Patterns & value sets for particular purposes
“Root” templates define entire content
  e.g., “Mammography CAD” template
“Sub-templates” define content for sub-tree
  e.g., “Single Image Finding” template
Current (2011+Sups+CPs) PS 3.16
  290 templates (TIDs)
  884 value sets (context groups, CIDs)

## Slide 4: Template Identification
Can be challenging
May be explicit (esp. for root template)
May require pattern recognition
Top-down parsing not necessarily unambiguous
Regardless of template
  specific patterns easily recognizable
  specific information easily extractable
  e.g., XPath

## Slide 5: Template as Semantic Model
Consider template as similar to a class
Includes (contains) other templates (classes)
Design approach
  define model (e.g., UML or C++ class)
  make matching template definition
  implement class to serialize/de-serialize as XML then SR, or SR directly

## Slide 6: Clinical Trial Concepts
“Subjects”
  patients, animals, specimens
  identification, characteristics
“Readers” (and “adjudicators” etc.)
  human or machine or hybrid
  identification, characteristics (e.g., role, version)
“Time points”
  imaging procedure at defined lifecycle stage
  Identification, characteristics (baseline, random)

## Slide 7: Clinical Trial Tasks
Read
  localize (organ, vessel, tissue, etc.)
  categorize (target (measurable), non-target, …)
  describe (irregular, enhancing, …)
  measure (size, intensity, texture,…)
  infer (malignancy probability, disease progression)
Compare
  adjudicate
  reach consensus

## Slide 8: Clinical Trial Workflow
Work lists
Scheduling readers
  by individual or by role
  load balancing
Series of steps
  sequential revelation (unblinding)
  locking +/- hindsight changes
Reads performed in sequence
  2 radiology then adjudication, oncology, QC

## Slide 9: Clinical Trial Data Management
Data to feed statisticians
May be all or subset of data acquired
May be image-referenced or separate
“Cleaning”
“Locking” (prior to interim or final analysis)
Store/interchange in either or both:
  database
  documents (like set of DICOM SRs)

## Slide 10: Clinical Trial Audit Trail
For EVERY data element
Who, what, when, where, why …
Multiple successive changes
Simultaneous changes to multiple elements
In document, metadata, database, or all?
Lifecycle management of “documents”
Human readable rendering mechanism
DICOM SR predecessor references

## Slide 11: DICOM Standard Templates
Developed mostly for clinical not clinical trial use cases so far, e.g., CAD, US OB, Cardiac
Strong on measurement
  coded sites, types, variants of measurements
  size, intensity, function, etc.
  coordinates (2D, 3D), image and seg references
Weak on clinical trial/experimental
  context - readers, roles, time points
  concepts – response assessment (PD,PR,SD,…)

## Slide 12: Template Design Questions
Scope of one object vs. multiple vs. exclude
  one subject (no debate)
  one or multiple readers?
  one or multiple time points (comparison)?
  measurements?
  image references?
  questions & answers (response assessments)?
  audit trail and provenance?
“Session” or “Subject” orientated?

## Slide 13: Private Templates & Codes
Private templates can re-use
  standard sub-templates
  standard value sets (context groups)
  standard codes (SNOMED, DCM, LOINC, RadLex)
Private value sets (in standard templates)
Private codes
  where no suitable external lexicon or exact match
  e.g., (RP-100019, 99RPH, “Time Point Name”)

## Slide 14: QIICR Slicer Considerations
“Session” rather than “subject” oriented
Record measurements & image relationship
Capturing “questions & answers”
  requires configurable information & UI – exclude?
Time point identity
  is study date/id sufficient, or more ? where from?
  longitudinal comparison – date based only?
Provenance & audit trail
  creation – who (reader ID, ?role), when
  editing – who, what, when, why – non-trivial

## Slide 15: Reusable Templates – TID 1410
TID 1410 Planar ROI Measurements:
  “a general structure to report one or more measurements for some metric, e.g., density, flow, or concentration, over a planar region of interest in an image … may be specified by an SCOORD on an image, or by a Segmentation Image”

## Slide 16: Reusable Templates – TID 1420
TID 1420 Volumetric ROI Measurements:
  “a general structure to report one or more measurements for some metric, e.g., density, flow, or concentration, over a volumetric region of interest in a set of images or a Frame of Reference … may be specified by a set of SCOORDs on an image set representing a volume, by a volumetric Segmentation Image, by a volume defined in a Surface Segmentation, or by a SCOORD3D”

## Slide 17: TID 1410 Planar ROI Mx

## Slide 18: TID 1419 ROI Measurements

## Slide 19: TID 1410 Parameters

## Slide 20: Concepts of Measurements
Can be very general
  size-related – (G-D705, SRT, “Volume”)
  intensity-related – (RP-100107, 99RPH, “SUVbw”), (112031, DCM, “Attenuation Coefficient”)
  modified – (R-00317, SRT, “Mean”)
Can be very specific (pre-coordinated)
  (8818-7, LN, “Right ventricular ejection fraction by MR”)
Units are separate (and can be constrained)
  e.g., (mm, UCUM, “mm”), ([hnsf’U], UCUM, “HU”)
Meaning may be internationalized
  e.g., (112031, DCM, “Coefficient d’atténuation”)

## Slide 21: Which Sub-Templates?
For measurements
For description of findings?
For description of images – “Image Library”?
For description of subject (header identifies)
For description of reader
Flat list or hierarchical?
Recursive/referential (finding derived from other findings)?

## Slide 22: Which Sub-Templates – Simple
For measurements – YES
For description of findings? – NO
For description of images – NO
For description of subject – NO
For description of reader – YES
Flat list or hierarchical? – FLAT
Recursive/referential? – NO

## Slide 23: Save/Restore Slicer “State”
Distinguish use case from mining for results
Results don’t even need to be stored in “state” object, since can be recalculated – just need references and methods
Can/should one (SR) object do both?
Hiding a “blob” (of binary or XML)?
Versus translating into SR-style content items and trees?
Right way versus easy way – re-use potential

## Slide 24: Revisit Use-Cases
SR “customers”
  who will produce the SR? workstation (only)
  who will consume the SR? workstation, statistics, …
Slicer-centric view
Interoperable view
Converge on single (simple, extensible) template for interoperability
  interchange of quantitative results, methods and image references between similar workstations
  e.g., Slicer vs. ClearCanvas NWU vs. syngo.via, etc.

## Slide 25: Codes to use for Slicer
Traditionally, each project makes up its own list of string values and LUT indices
  e.g., “necrotic region of tumor”, “left hippocampus”, etc.
  works, but no interoperability of tools or concepts or re-use of existing ontologies (e.g. knowledge that “precentral gyrus” is part of “frontal lobe” is part of “brain”, or is “primary motor cortex” is “motor cortex”)
Standard lists available
  DICOM, SNOMED, FMA, RadLex, QIBO
  varying comprehensiveness of supporting ontology
Mapping of Slicer LUT and Brain Atlas LUT done

## Slide 26: Codes to use for Slicer
Could just hardwire in specific plugins
Perhaps better to de-reference to dictionary support module +/- network interfaces to terminology services (e.g., Bioportal.org)
Used in both SR (totally code dependent) and SEG (coded description of segments is required)
When no suitable standard/external code, can make up a private code (e.g., Slicer supplied, or user supplied) – need support tools in order to do this correctly

## Slide 27: Annotated References
An early article discussing concepts and issues: Cancer Inform. 2007; 4: 33–56: “DICOM Structured Reporting and Cancer Clinical Trials Results”: http://www.ncbi.nlm.nih.gov/pmc/articles/PMC2666949/
An implementation used in a proprietary tool at my former company: “Encoding of Oncology Clinical Trial Read Results in DICOM SR - Abbreviated QIBA 1C Content”: http://qibawiki.rsna.org/images/f/fc/ClinicalTrialResults_20111123_QIBA.doc
CP 1112 “Add SR Structure for ROI Measurements”: ftp://medical.nema.org/medical/dicom/final/cp1112_ft.pdf